## Slide 1
CARMA Inhomogeneity Correction Filter
Alan Morris, Eugene Kholmovski, Josh Cates, Rob MacLeod
SCI Institute/CARMA Center
University of Utah
© 2012, All Rights Reserved

## Slide 2: Learning Objective
Inhomogeneity correction filter in Slicer
© 2012, All Rights Reserved

## Slide 3: Current Workflow
Original (uncorrected) Image
Blood Pool Mask
Corrected Image

## Slide 4
Slicer: Release 4.1
http://www.slicer.org/pages/Downloads/
Data: CARMA Slicer Extension Tutorial Data
http://hdl.handle.net/1926/1765
Required Materials
© 2012, All Rights Reserved

## Slide 5: Additional Sample Data
60 patients
http://hdl.handle.net/1926/1757

## Slide 6
Pre-requisite Tutorial
© 2012, All Rights Reserved
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0/Training

## Slide 7
Platforms
© 2012, All Rights Reserved
Developed
Tested

## Slide 8
Overview
© 2012, All Rights Reserved
Load the module
Load the dataset
Inhomogeneity Correction

## Slide 9: Loading the Module
Select View>Extension Manager in the menu bar (or push ⌘4)
If the Extension Manager isn’t revealed, see the next 2 slides; otherwise, skip them

## Slide 10: Loading the Module
To load the Extension Manager, Select Edit>Application Settings in the menu bar (or push ⌘2)

## Slide 11: Loading the Module
Under the Extension menu, make sure ‘Enable extension manager’ is checked

## Slide 12: Loading the Module
Select CARMA in the sidebar and click the extensions

## Slide 13: Loading the Module
Restart to install the extension

## Slide 14: Loading the Data
Select ‘Choose Directory to Add’ in the pop-up menu

## Slide 15: Loading the Data
Select the directory containing your dataset

## Slide 16: Loading the Data

## Slide 17: Inhomogeneity Correction
Input volumes
{
Output volume
A black image the same size as the input image was used as the ROI in this example
The input image and blood pool mask have been cropped in this example.

## Slide 18: Inhomogeneity Correction
Apply the filter

## Slide 19: Inhomogeneity Correction
Viewer automatically updates to show the resulting corrected output

## Slide 20: Conclusion
This module can be used for local inhomogeneity correction in cardiac MRI image volumes.