## Slide 1: Coming of age for a NA-MIC DBP
Gabor Fichtinger, Andras Lasso, Tamas Ungi, Csaba Pinter, Tomi Heffter, Sid Vikal, David Gobbi, and Attila Tanacs
Queen’s University, Canada

## Slide 2: In-situ image-guided surgery
Digital images
Planning & control computer
Patient
Imaging
scanner
Robot
Coordinates
Physician
CT,MRI,
US, X-ray

## Slide 3: First implementation
Fichtinger et al. Acad Rad, 2002

## Slide 4: First implementation
Tanacs, 2002

## Slide 5: Hypothesis
  It is possible to architect IGS systems that, to a large extent, are invariant to imaging modalities, scanners, trackers, and surgical devices, and even to anatomical sites and diseases.

## Slide 6: Goals as a NA-MIC DBP
Develop generic IGS platform on Slicer
Apply it in image-guided needle surgery
    Robot-assisted prostate interventions
    Spinal interventions
  Go clinical

## Slide 7: Heterogeneous human supervisory control (HHSC)
Subsystem boundary
Work-space
Navigation workstation
Robot
controller
Image registration and fusion
MRI scanner
Display
Controls
Needle guide
Joint
encoders
Operator
Lasso, 2012

## Slide 8: Robotic prostate biopsy in MRI
Configurable to multiple robot systems

## Slide 9: Transrectal system at JHU/NIH
Krieger et al. IEEE TMBE, 2005
(Best paper in 2005-2009)

## Slide 10: Transperineal system at BWH
Fischer et al. IEEE ASME, 2007
Song et al, IJCARS 2011

## Slide 11: Workflow definition
  Imaging & modeling
  Planning
  Robot registration
  Targeting
  Execution & monitoring
  Verification

## Slide 12: Modeling and planning
Gao, Tannenbaum et al. IEEE TMI 2010

## Slide 13: Robot registration
Lasso, 2011

## Slide 14: Targeting the biopsy sites
Lasso, 2011

## Slide 15: Monitoring in 2nd display
Lasso, 2011

## Slide 16: Monition tracking
Tadayyon et al. IEEE TBME 2011
Lasso 2012 (in preparation)
Chart: Mean TRE (mm)
Compute metric
(MMI)
ROI: P+R+PB
Optimize
metric
(GD)
Transform image (rigid)
Prostate motion transform
Compute metric
(MMI)
ROI: P
Optimize
metric
(L-BFGS-B)
Transform image (B-spline)
moving image
fixed image
transformed moving image
metric value
transform parameters
result
transform
fixed image
transformed moving image
metric value
transform parameters
Stage 1
Stage 2
Target planning volume
moving image
Sparse volume

## Slide 17: Verification
Lasso, 2011

## Slide 18: Clinical trial analysis
Xu et al. MICCAI, 2010

## Slide 19: Augmented reality guidance
Fichtinger et al. IEEE TMBE, 2005
Fischer et al. JCAS, 2007

## Slide 20: Clinical workflow
Fischer et al. JCAS, 2007

## Slide 21: Slicer interface
Vikal et al. CMIG, 2009

## Slide 22: The Perk Station
Vikal et al. CMIG, 2009

## Slide 23: Perk Station interface
Vikal et al. CMIG, 2009

## Slide 24: What we learned from NAMIC
  Open source collaborative development pays off in the end only
  It needs people of the same mind, passion and vision – very difficult to come by
  Spending NAMIC funds solely on engineering was a wise and necessary decision
  Work with your friends

## Slide 25: Graduation plan
  Form the “Canadian NAMIC”
  Concentrate on IGS and translational clinical engineering
  Work with NAMIC, the older and wiser brother
  Set the rules
  Choose the right partners
  Get funded

## Slide 26: SPARKit – Software Platform and Adaptive Radiotherapy Kit
  Affiliated with OCAIRO (Ontario Consortium for Adaptive Interventions in Radiation Oncology) of +20 industry-funded investigators
  Funded by Cancer Care Ontario as a Applied Cancer Research Unit
  Shared, reusable and customizable software infrastructure to assist clinical translation of experimental diagnostic and therapeutic approaches
  The scope of SPARKit is IGRT & associated IGS procedures

## Slide 27: SPARKit partners & rules
  Partners
  Queen’s University, Kingston (Gabor Fichtinger, PI)
  Robarts Research Institute, London (Terry Peters)
  Princess Margaret Hospital, Toronto (David Jaffray)
  Rules
  Open to buy-in by other groups (up to our funding limit)
  All money goes to clinical application engineering
  3D Slicer is mandatory
  Trials, algorithm development etc. must be funded separately

## Slide 28: SPARKit engineering staff
  Queen’s University, Kingston
  Andras Lasso, Tamas Ungi, Csaba Pinter
  Robarts Research Institute, London
  Elvis Chen
  Princess Margaret Hospital, Toronto
  Kevin Wang
  50% SPARKit & 50% other grants
  All present at AHM

## Slide 29: SPARKit projects
  MRI-guided prostate interventions
  MR image overlay guidance
  Slicer Radiation Therapy
  Ultrasound calibration
  Ultrasound-guided needle placements
  Percutaneous needle placement training

## Slide 30: Slicer Radiation Therapy
  Address common needs of OCAIRO investigators
  DICOM RT I/O in Slicer-4 to provide dose maps, contours, DVH…
Csaba Pinter, Andras Lasso, Kevin Wang

## Slide 31: Public Library for Ultrasound
Goal: Facilitate rapid clinical application prototyping of ultrasound-guided interventions
Google Scholar on “tracked ultrasound” about 48,000 hits
Scope: tracked ultrasound calibration, data acquisition, processing, and streaming
Open-source (since October 2011)
BSD license, no strings attached
Users: UBC, Robarts, planned at
JHU, BWH, PTI/AMS
Andras Lasso, Csaba Pinter, Tamas Ungi

## Slide 32: Why is ultrasound difficult?

## Slide 33: PLUS architecture
PLUS library
Device SDKs and drivers
PLUS Applications
3D Slicer
VTK
ITK
Open
IGTLink
CTK
QT
3D Slicer plug-in modules
Option B: PLUS application communicates with 3D Slicer through OpenIGTLink
Option C: 3D Slicer plug-in directly uses PLUS library
Option A: Standalone PLUS application (not using 3D Slicer)

## Slide 34: Ultrasound navigation
Tamas Ungi, Elvis Chen

## Slide 35: Configurable architecture
PLUS
Ultrasonix SDK
Ascension SDK
Synchronisation
Sonix Touch
OpenIGTLink
Ascension DriveBay
3D Slicer
OpenIGTLink
Live Ultrasound
Visualization
Registration
Segmentation
Transform Recorder
...
...
...

## Slide 36: Snapshot ultrasound mode
 | Tracked snapshot guidance | Plain ultrasound guidance
Number of insertions | 60 | 60
Success rate (%) | 93% * | 71%
Insertion time (s) | 117 ±19 | 138 ±34
Tracked needle
Target phantom /patient
Entry point
Target point
Dual 3-D layout in 3D Slicer
Bull's-eye view
virtual camera
Progress view
virtual camera
Progress view
Bull's-eye view

## Slide 37: Lessons learned
  Patience
  Leverage other grants
  Stick to the rules
  Choose partners from friends
  Stay in the NAMIC family

## Slide 38: Thank you